Progress Report No. 1-2010

for

Norwegian National Seismic Network

January 1st to September 30th, 2010.

Supported by

Norwegian Oil Industry Organization

and

University of Bergen, Department of Earth Science

Prepared by

Department of Earth Science

University of Bergen

Allegaten 41, N-5007 Bergen

November 2010

CONTENTS

1	Introduction	3

2	Operation	3

3	Field stations and technical service	7

4	NNSN plans	9

4.1	Achievements in 2010	10

4.2	Plans for 2011	10

5	Economy	11

# Introduction

This annual report describes the operation of the Norwegian National Seismic Network (NNSN) for the first nine months of 2010. The network is financially supported by the oil industry through the Norwegian Oil Industry Association (“Oljeindustriens Landsforening”, OLF) and the University of Bergen (UiB). UiB has the main responsibility to run the NNSN. This report covers operational aspects for all seismic stations operated by the Department of Earth Science at the UiB and includes the financial report.

# Operation

In Norway, UiB operates 32 (October 2010) of the seismic stations that form the Norwegian National Seismic Network (NNSN). NORSAR operates 3 seismic arrays, which also include broadband instruments, and three single seismometer stations (JMIC, AKN and HSPB (jointly with the Geophysical Institute, Polish Academy of Sciences, Warsaw, Poland)) (Figure 1). In total, NORSAR provides data from six broadband stations to the NNSN. A seismicity map for the reporting period is shown in Figure 2.

UiB is in the process of upgrading the NNSN by changing short period (SP) to broadband (BB) seismometers and to increase the number of stations where data can be transmitted to Bergen in real time. A further effort is made to install additional high quality digitizers. As of today the numbers of SP, BB stations and stations with real time transmission are listed in Table 1.

Table 1.  Overview of UiB seismic stations

|  | Short Period | Broadband | Real time |
| --- | --- | --- | --- |
| Number of stations | 17 | 15 (9 with natural period greater than 100 sec) | 28 |

The operational stability for each station is shown in Table 2. The downtime is computed from the amount of data that are missing from the continuous recordings at UiB. The statistics will, therefore, also show when a single component is not working. This is done as the goal is to obtain as complete continuous data from all stations as possible. Also, communication or computing problems at the centre will contribute to the overall downtime. In the case of communication problems, a station may not participate in the earthquake detection process, but the data can be used when it has been transferred. Thus, the statistics given allow us to evaluate the data availability when rerunning the earthquake detection not in real-time.

The downtime for the majority of stations is below 5%. Larger down time were observed for the following stations:ASK, KTK, KBS, SNART and TBLU (see technical service overview for details).

Table 2. Data completeness in % for January to September 2010 for all stations of the NNSN operated by UiB.

| Station | Data completeness in % |
| --- | --- |
| Askøy (ASK) | 93 |
| Bergen (BER) | 100 |
| Bjørnøya (BJO) | 99 |
| Blåsjø (BLS) | 100 |
| Dombås (DOMB) | 100 |
| Espegrend (EGD) | 99.5 |
| Florø (FOO) | 99 |
| Flostrand (FLOS) | 99.5 |
| Hammerfest (HAMF) | 96 |
| Homborsund (HOMB) | 99.5 |
| Hopen (HOPEN) | 97.5 |
| Høyanger (HYA) | 100 |
| Jan Mayen (JMI) | 99 |
| Jan Mayen (JNE) | 99 |
| Jan Mayen (JNW) | 99 |
| Karmøy (KMY) | 100 |
| Kautokeino (KTK) | 93.5 |
| Station | Data completeness in % |
| Kings Bay (KBS) | 93 |
| Kongsberg (KONO) | 99 |
| Konsvik (KONS) | 99.5 |
| Lofoten (LOF) | 99.5 |
| Mo i Rana (MOR8) | 100 (not real-time) |
| Molde (MOL) | 96.5 |
| Namsos (NSS) | 99 |
| Odda (OOD1) | 100 |
| Oslo (OSL) | 100 |
| Rundemanen (RUND) | 99 |
| Snartemo (SNART) | 89.5 |
| Stavanger (STAV) | 99.5 |
| Steigen (STEI) | 99.5 |
| Stokkvågen (STOK) | 99.5 |
| Sulen (SUE) | 97 |
| Blussvoll (TBLU) | 94 |
| Tromsø (TRO) | 97 |

Figure 1. Stations delivering data to the NNSN database.

Figure 2. Seismity map showing assumed earthquakes for the period January to September, 2010.

# Field stations and technical service

The technical changes for each seismic station are listed below. It is noted if these changes are carried out by the respective local contact and not by the technical staff of UiB. When a station stops working, tests are made to locate the problem. Sometimes the reason cannot be found and the cause of the problem will be marked as unknown.

Major changes during this reporting period of 2010 were: Installation of the station in Hammerfest (HAMF). The stations Espegrend and Rundemannen were closed as their contribution to the network was minimal. A new station near Bergen will be considered in the future. The stations at Blåsjø and Dombås were upgraded with broadband seismometers and 24-bit digitizers. A new digitizer and recording computer were installed on Jan Mayen. At Kautokeino the station was upgraded with an Industrial PC and ADSL line which enables real time data transfer.

Ask (ASK)

13.01.10: Visit. Modem restarted

23.04.10: Visit. Replaced malfunctioning digitizer

28.07.10: Visit. Communication and power problems

21.10.10: Visit. Replaced malfunctioning digitizer

Bjørnøya (BJO1)

No visit or technical changes.

Blåsjø (BLS)

20.05.10: Visit. A Trillium  broadband seismometer together with a

Guralp	DM24 digitizer were installed. An industry standard PC was

installed for acquisition.

Blussvoll (TBLU)

28.06.10: Remote restart. Station down between June 19-28th. Problems

with power supply.

Dombås (DOMB)

18.09.10: Digitizer was replaced by local operator

26-27.10.10: Visit. A Trillium broadband seismometer together with a

Guralp	DM24 digitizer were installed.

Espegrend (EGD)

EGD was permanently closed 02.01.10.

Florø (FOO)

11.06.10: Replaced the temporarily installed Trillium sensor with a

Guralp sensor.

Flostrand (FLOS)

No visit or technical changes.

Hammerfest (HAMF)

7-11.06.10: visit. New installation of the station. Trillium sensor,

Guralp DM24 digitizer, GPS and industrial PC with Seislog for Linux.

Homborsund (HOMB)

No visit or technical changes.

Hopen (HOPEN)

During the summer a cable (left on top of the ground summer 2009) was buried by local operator. The sensor is drifting and is regularly recentered by the local operator.

Høyanger (HYA)

No visit or technical changes.

Jan Mayen (JMI)

28.07-04.08.10: Visit. Installation of Industrial PC with Linux Seislog ,

Guralp 6 ch. Digitizer, Seedlink/Earthworm/Winston, access to Swarm

to enable continuous plotting on screen at JMI. The analog helicorder

was stopped. Training course was given.

Karmøy (KMY)

No visit or technical changes.

Kautokeino (KTK)

10-12.08.10: Visit. Installation of industrial PC.

NetCom GPRS.Sikon GSM MINI telecommander.

Kings Bay (KBS)

Visit by USGS: Digitizing and communication equipment replaced.

Kongsberg (KONO)

No visit or technical changes.

Konsvik (KONS)

No visit or technical changes.

Lofoten (LOF)

No visit or technical changes.

Mo i Rana (MOR8)

No visit or technical changes.

Molde (MOL)

No visit or technical changes.

Namsos (NSS)

No visit or technical changes.

Odda (ODD1)

No visit or technical changes.

Oslo (OSL)

19.01.10: New station installed at old site. Installation of three SS-1

Kinemetrics sensors was done by local operator.

Rundemanen (RUND)

Station permantley closed 21.10.2010.

Snartemo (SNART)

New PC was installed by local operator.

A digitizer was installed to replace the existing malfunctioning digitizer.

Stavanger (STAV)

There were network problems with the system during the summer
where it was not possible to contact the local operator. However, the
data was later retrieved.

Steigen (STEI)

No visit or technical changes.

Stokkvågen (STOK)

No visit or technical changes.

Sulen (SUE)

09.06.10: Visit. Recentering sensor. Replaced PC.

Tromsø (TRO)

26.04.10: Industrial PC installed by local operator

01.10.10: Visit. Installation of Guralp digitizer and GPS.

# NNSN plans

The overall purpose of the NNSN is to provide data both for scientific studies, but equally important for the routine observation of earthquakes. This in principle means that broadband seismometers are desired at all sites. Of course in areas where additional stations are deployed for local monitoring, short-period seismometers are sufficient. The number of broadband seismometers in the network will be increased to replace existing short period instruments.

A general goal for the future development has to be to achieve better standardization in particular with the seismometers and digitizers. The total number of stations for now should remain stable, but it is important to improve the overall network performance.

We now report achievements for 2010, and then give the plans for 2010/11.

## Achievements in 2010

- Complete the installation of the station in Finnmark.
Progress: Done, station installed in Hammerfest.

- Develop internal procedures for handling public inquiries and urgent processing in case of significant earthquakes in Norway.
Progress: A phone line was setup at UiB for the public (55 58 26 17). The call will be transferred to staff member on call. This has started as a voluntary activity.

- Develop a joint web-page for NNSN to be in operation by the summer of 2010. 
Progress: A proto type version is online. Feedback on this from Norsar was received, and based on this further improvements are required, planned for the remaining time in 2010.

- Establish written guidelines for daily routine processing between UiB and Norsar.
Progress: The UiB analysts visited Norsar in the beginning of 2010. While the routine is working, written guidelines have not been produced yet.

- Establish automated routines for event based waveform data extraction from Norsar for the associated triggers to the NNSN database.
Progress: none.

- Continue upgrade of communication to real-time.
Progress: 2 systems are at present time not transferring data in real time. Satellite communication is tested for use in MOR to replace the ISDN line. This test is still in progress, but when completed the system will be installed and at the same time the station will be upgraded to broadband seismometer. For the time being, there is no easy solution to obtain real-time data from the system in Jan Mayen. However, it will be desirable to also receive that data in real-time.

- Upgrade two existing stations to broadband seismometers.
Progress: Blåsjø and Dombås are upgraded to BB seismometers .

- Continue with the integration of data from Ekofisk, and Statfjord.
Progress: Regarding Ekofisk, contact was made with Optoplan. UiB is waiting for the system installation and access to the data. 
Planning for the initial test at Statfjord is completed and Technor is asked to deliver the certified seismometer enclosure. Installation of the system in 2010 is still possible.

- Install equipment for on-scale recording for large earthquakes on Jan Mayen through broadband seismometer or accelerometer.

Progress: We have replied to the request by FKD for payment related to the siting and operation of the seismic stations, and are waiting for their response. Further plans will depend on the outcome.

## Plans for 2011

- Mo i Rana: The Mo i Rana station will be upgraded when the sattellite link is sufficiently tested.

- Lofoten: the station will be upgraded by installing a new digitizer and computer; a broadband seismometer will be installed either at Lofoten or Steigen.

- Further upgrade: We have received funding from the department for six broadband sensors. Two of these will be used for portable deployment. The other four will be installed on current NNSN stations. The NNSN budget for new investments in 2011 will be used for digitizers.

- New stations: planning for possible stations in the Hardanger Vidda area and near Bergen will start.

- Temporary deployment in Northern Norway: The seismicity in the Stokkvagen and Steigen area will be more closely monitored for a period of about one year with the five temporary stations. The configuration of the current stations will be revised.

- Continue with the integration of data from Ekofisk and Statfjord.

- Establish automated routines for event based waveform data extraction from NORSAR for the associated triggers to the NNSN database.

- Procedures: earthquake response and interaction with NORSAR to be developed.

- NNSN website: continue development

# Economy

The Norwegian National Seismic Network is supported economically by the Norwegian Oil Industry Organization and the Department of Earth Sciences, University of Bergen.

The contributions from the two sources in kNOK for 2010 are:

| Norwegian Oil Industry Organization | 3053 |
| --- | --- |
| University of Bergen, Department of Earth Sciences | 1109 |
| Total | 4162 |

Table 3. Accounting for 2010 for the Norwegian National Seismic Network (in 1000 NOK)

|  | Budget for 2010 | Spent before Oct. 1st. | Rest |
| --- | --- | --- | --- |
| Salary | 2487 | -1865 | 622 |
| International memberships | 60 | -56 | 4 |
| Project travels inc. overtime | 160 | -108 | 52 |
| Project equipments | 295 | -200 | 95 |
| New investments | 200 | -90 | 110 |
| Rent/Electricity/local salary | 250 | -187 | 63 |
| Shipment | 15 | -15 | 0 |
| Communication | 300 | -194 | 106 |
| NORSAR | 375 | -281 | 94 |
| Other | 20 | 0 | 20 |
| TOTAL | 4162 | -2996 | 1166 |